Question 1) -Definitions

What is diffraction?

What is dispersion and how does it relate to this experiment?

Theory

Question 2) On page 5 of PASCO write-up (i.e., Educational Spectrophotometer Accessory Kit & Systems used in lab) you will find a diagram of the set-up used in lab.

Duplicate this diagram(with rays) and include (show) the focal distances (10 cm) of the lenses as well as include (show) the aperture mask on the diagram. What is the purpose of the aperture mask?

Question 3) The equation used to calculate wavelength of light is given by λ=dsinθ.

Explain how this equation is derived. Keep explanation short. The most important point after geometry (i.e., rays are assumed to be parallel) is optical path difference. See figure 1.1 on page 17 of PASCO write-up. Website below is also helpful.

https://www.saburchill.com/physics/chapters2/00151.html

Uncertainty analysis (How to obtain wavelength uncertainty)

Equation of interest - 	λ=dsinθ. 								Eq-1

The uncertainty of this relationship is given by	  δλλ=δdd2+δsinθsinθ2.		Eq-2

Since δsinθ=dsinθdθδθ=cosθδθ, it can be seen that δsinθsinθδθ=cosθsinθδθ=cotθδθ.

Eq-2 can now be written as	 δλλ=δdd2+cotθδθ2, or				Eq-3

δλ=λδdd2+cotθδθ2	.   	(Use this equation for uncertainty calculations)		Eq-4

Please note that angles should be in radians (here it only matters that δθ is in radians).

We can now quantify the uncertainty of the experiment and compare it to the uncertainty given by the PASCO write-up.

For the (fractional) uncertainty of the diffraction grating (i.e., δdd), use 0.5% or 0.005). This value was the value given by a PASCO technical representative on 5/25/22)

Uncertainty of angle theta (as measured in lab)

Since the analog scale was used to calibrate rotary sensor, the uncertainty is ½ * 2 of readability of a full-scale measurement is 0.5 * 2 = 0.7071 degrees. This full-scale angular uncertainty is called θfull scale

θfull scale = 0.707/360 degrees =  0.00196 degrees   or 	θfull scale=3.43×10-5 radians

To obtain the fractional uncertainty for an angle less than a full scale measurements use:

δθfractional=  3.43×10-5*2πΔθmeasured radians= 0.00022Δθmeasured radians

You are reminded that Δθmeasured is twice the measured angle before it is divided by two.

How to use.

On page 16 of PASCO Educational Spectrophotometer instruction manual a value of 0.48 nm is given for the angular resolution of the PASSPORT Rotary Motion Sensor.

This can calculated as follows using the sodium calibration for the yellow doublet (wavelength of 589.3 nm) info on page 15)

Assume you measured 20.72 degrees for the yellow line(by measured- I mean you measured a Δθmeasured of 41.74 degrees = 0.7284 radians.)

δθfractional=  0.00022Δθmeasured radians= 0.000220.7284=0.000302 radians

Using Eq-4 and the given uncertainty above, we calculate δλ. For this calculation only we assume δdd is zero. When calculating your experimental uncertainties assume  δdd is 0.005. See equation 5 below.

δλ=λ02+cotθδθ2 =  λ*cotθδθ							Eq-5

λ =λ*cotθδθ=589.3 nm* cot20.714*0.000302 radians=0.47 nm

Question 4)  Analysis of PASCO uncertainty values.

Based upon the analysis above it is obvious that the uncertainties of your measured wavelengths will be larger than the value given by PASCO for rotary sensor only. Briefly discuss why this was the case.

Consider the properties of the PASCO photometer (in particular its resolution) & closeness & intensity of the spectral lines you were trying to observe as well as the neglected uncertainty of the spectral grating in the 0.48 nm calculation above